## Sheet1
TRANSFER P/N into GLOVIA CCN-03 (Viet Nam)
Form: 005-0403, Revision: L
Tooling Review: | Does the tooling perform properly? |  |  |  | Yes | ü | No |  | N/A
| Does VN have adequate quantities of tooling? |  |  |  | Yes | ü | No |  | N/A
Drawing Review: | Are all drawings VN process compatible? |  |  |  | Yes | ü | No |  | N/A
Requestor: | Marlon Hodge |  |  |  | Date: | 2018-05-09 |  | Associated ECO/Task #: |  |  | 54652
(OPTIONAL)
Engineering Coordinator: | Kim mai
Item (Part Number) | Item Description |  |  |  |  | Planning type |  | Next Assy Level |  | Estimated Build Target Date in VN
[6 empty] | Make | Buy
ST4251-01 | HF SCIENTIFIC REAGENT CHILLER ASSEMBLY 28365S |  |  |  |  | Y |  |  |  | 2018-07-13
522-1088-001 | HEAT SINK ST4251 | HEAT SINK ST4251 | HEAT SINK ST4251 | HEAT SINK ST4251 | HEAT SINK ST4251 |  | Y
522-1088-001 | FAN DUCT ST4251 | FAN DUCT ST4251 | FAN DUCT ST4251 | FAN DUCT ST4251 | FAN DUCT ST4251 |  | Y
537-0015-001 | COMBINED GASKET ST4251 | COMBINED GASKET ST4251 | COMBINED GASKET ST4251 | COMBINED GASKET ST4251 | COMBINED GASKET ST4251 | Y
541-0338-001 | TUBE INSULATION ST4251 | TUBE INSULATION ST4251 | TUBE INSULATION ST4251 | TUBE INSULATION ST4251 | TUBE INSULATION ST4251 |  | Y
546-0263-002 | TUBE BOTTOM INSULATION ST4251 | TUBE BOTTOM INSULATION ST4251 | TUBE BOTTOM INSULATION ST4251 | TUBE BOTTOM INSULATION ST4251 | TUBE BOTTOM INSULATION ST4251 | Y
546-0264-001 | ST4225 SPACER NYLON UNTHREAD #8 | ST4225 SPACER NYLON UNTHREAD #8 | ST4225 SPACER NYLON UNTHREAD #8 | ST4225 SPACER NYLON UNTHREAD #8 | ST4225 SPACER NYLON UNTHREAD #8 |  | Y
600-0080-003 | SCREW, FLAT HEAD, PHILLIP, SS. M2 X .4 X 6 (ROHS) | SCREW, FLAT HEAD, PHILLIP, SS. M2 X .4 X 6 (ROHS) | SCREW, FLAT HEAD, PHILLIP, SS. M2 X .4 X 6 (ROHS) | SCREW, FLAT HEAD, PHILLIP, SS. M2 X .4 X 6 (ROHS) | SCREW, FLAT HEAD, PHILLIP, SS. M2 X .4 X 6 (ROHS) | Y
601-0058-003 | SCREW #8-32 X 2-1/2 PH PH STAINLESS | SCREW #8-32 X 2-1/2 PH PH STAINLESS | SCREW #8-32 X 2-1/2 PH PH STAINLESS | SCREW #8-32 X 2-1/2 PH PH STAINLESS | SCREW #8-32 X 2-1/2 PH PH STAINLESS |  | Y
601-0211-019 | SCREW #8-32 X 3.25 PAN HEAD FULL THREAD ST4251 | SCREW #8-32 X 3.25 PAN HEAD FULL THREAD ST4251 | SCREW #8-32 X 3.25 PAN HEAD FULL THREAD ST4251 | SCREW #8-32 X 3.25 PAN HEAD FULL THREAD ST4251 | SCREW #8-32 X 3.25 PAN HEAD FULL THREAD ST4251 | Y
601-0310-001 | NUT HEX NYLON INSERT STAINLESS 8-32 (ROHS) | NUT HEX NYLON INSERT STAINLESS 8-32 (ROHS) | NUT HEX NYLON INSERT STAINLESS 8-32 (ROHS) | NUT HEX NYLON INSERT STAINLESS 8-32 (ROHS) | NUT HEX NYLON INSERT STAINLESS 8-32 (ROHS) |  | Y
604-0025-003 | THERMAL PAD ST4251 | THERMAL PAD ST4251 | THERMAL PAD ST4251 | THERMAL PAD ST4251 | THERMAL PAD ST4251 | Y
860-0036-001 | LM35DZ PRECISION CENTIGRATE TEMPERATURE SENSOR | LM35DZ PRECISION CENTIGRATE TEMPERATURE SENSOR | LM35DZ PRECISION CENTIGRATE TEMPERATURE SENSOR | LM35DZ PRECISION CENTIGRATE TEMPERATURE SENSOR | LM35DZ PRECISION CENTIGRATE TEMPERATURE SENSOR |  | Y
217-0205-001 | SENSOR TUBE LM35DZ | SENSOR TUBE LM35DZ | SENSOR TUBE LM35DZ | SENSOR TUBE LM35DZ | SENSOR TUBE LM35DZ | Y
526-0247-001 | HYSOL US2650 200ML (SSR) | HYSOL US2650 200ML (SSR) | HYSOL US2650 200ML (SSR) | HYSOL US2650 200ML (SSR) | HYSOL US2650 200ML (SSR) |  | Y
856-0192-002 | 22 AWG 2 CONDUCTOR CABLE W/ SHIELD & DRAIN | 22 AWG 2 CONDUCTOR CABLE W/ SHIELD & DRAIN | 22 AWG 2 CONDUCTOR CABLE W/ SHIELD & DRAIN | 22 AWG 2 CONDUCTOR CABLE W/ SHIELD & DRAIN | 22 AWG 2 CONDUCTOR CABLE W/ SHIELD & DRAIN | Y
865-0192-001 | 38MM STANDOFF CORE ENCLOSURE PLACEMENT FIXTURE | 38MM STANDOFF CORE ENCLOSURE PLACEMENT FIXTURE | 38MM STANDOFF CORE ENCLOSURE PLACEMENT FIXTURE | 38MM STANDOFF CORE ENCLOSURE PLACEMENT FIXTURE | 38MM STANDOFF CORE ENCLOSURE PLACEMENT FIXTURE |  | Y